Offline Computing System

# Overview

The BES detector has been in operation for more than 12 years, and the BES offline data analysis environment has been developed and upgraded along with the development of the BES hardware and software. At present the BES data are processed on both HP-UNIX farm system and PC-farm system. The network system consists of a 1000Mbps optical fiber network together with a distributed 100Mbps fast Ethernet system, as well as a 100Mbps FDDI local area network.

Based on the existing BES computing environment, following points should be taken into account for the future BESIII offline computing system and software environment:

- The system should be set up by adopting or referring to the latest technology commonly used in HEP community, both in hardware and software, in order to benefit the collaboration and to have easier exchanges with other experiments.

- The system should support hundreds of the existing BES software packages and should serve for both experts of the BESII software and new members in the collaboration.

- Many of the BESII packages will be modified or re-designed to suit for the new computing environment.

The BESIII computing facility and software system will operate for many years.  Thus they should have the scalability to keep up with the development of the technology in both the hardware and software. It should be highly flexible, powerful, reliable and easy for maintenance.

# Requirements

## BESIII Data Yields

The peak luminosity of the BESIII at the  resonance will be about 1033 cms. The event rate recorded on tape is estimated to be about 3000 Hz. and the event size is about 12 Kbytes/event for raw data, 24 Kbytes/event for reconstructed data(Rec.)  and 2 Kbytes for summary data(DST).

Assuming BESIII will take data at the begin of the data taking for one year or more, and then move to  data energy region. So the maximum data yields per year is about 1(1010 data. The total data size in first years: 12(103(1(1010(120(1012 bytes. Detail information is listed in table 13.2-1.

Table 13.2-1 Estimate of the BESIII data yields in the first year

| Data type | Event size( k bytes) | Total Data size(1012bytes) |
| --- | --- | --- |
| Raw | 12 | 120 |
| Rec. | 24 | 240 |
| DST | 2 | 20 |
| M.C. Rec. | 24 | 120 |
| M.C. DST | 2 | 20 |
| Total |  | 640 |

## Data Storage and Management

All kinds of data, including  raw data and reconstructed data,  are stored in tapes mounted on Robot in the computer center.  The total amount of raw data in 5 years is estimated to be about 240(1012  bytes,  which includes 120  Tbytes  of  data and 120  Tbytes of , D and Ds data.  Suppose the data reconstruction is repeated three times per year,  the total size of the Rec. and DST data  will be about 1440 Tbytes and  120 Tbytes respectively. The size of Rec. and DST data from Monte Carlo simulation will be about the same as that of real data.

All of  raw and  Rec. data,  about 3120 Tbytes, will be put on the tape library. A total of 240 Tbytes DST data will be stored on a disk array accesse via high-speed network system. Details are listed in table 13.2-2.

Table 13.2-2 Requirements of the tape and Disk space for BESIII Data

| Sort of data | Amounts of data (Tbytes) | Device |
| --- | --- | --- |
| Raw | 240 | Tape Lib. |
| Rec. | 1440 | Tape Lib. |
| DST | 120 | Disk |
| M.C. Rec. | 1440 | Tape Lib. |
| M.C. DST | 120 | Disk |

## CPU Power Requirement

According to the experience of data processing at BESII, required CPU power for data reconstruction is about 20s×MIPS per event. Suppose the total active running time of the computer is about 2×107  second per year,  and the data reconstruction is repeated three times a year for improving calibration and  reconstruction, the required CPU power is about 130000 MIPS. Details are listed in table 13.2-3.

Table 13.2-3 The CPU power required for handling the BESIII data.

| Job type | Speed/Event (MIPSs) | Total event (1010) | Total CPU (MIPS) |
| --- | --- | --- | --- |
| Data Rec. | 20 | 4 | 40000 |
| MC Sim. | 100 | 1 | 50000 |
| MC Rec. | 20 | 4 | 40000 |
| Total |  |  | 130000 |

## Bandwidth for Data Transfer

The bandwidth required for online data transfer from the online computing system to the offline data server should be more than 400 Mbps, which is determined by the product of trigger rate times the event length, i.e. 400012Kbytes(8. It also requires that the network system should be highly stable and secure to avoid event losses.

The bandwidth required for data transfer from the data server (i.e. RAID disk) to the reconstruction farm depends mainly on the processor speed of selected machines. The higher the processor speed, the larger the bandwidth required. Due to very high  data traffic in the local network, it is necessary to create an isolated BES computing environment, which is separated from other part of the IHEP network, and can ensure a reasonable efficiency in data transfer.

# Computing Enviroment

The main tasks of the BESIII Computing Environment can be divided into four parts: The first one is the various data handling such as the data reconstruction and offline analysis; The second one is the transport of various data; The third one is storage and management of various data and documents;  The fourth one is the communication between users and system devices.

To satisfy these requirements, the system to be built should have good performance, including stability, reliability and flexibility, with a reasonable and acceptable cost. Also the rapid development of advance technology in both computer hardware and software should be followed closely so that we can benefit from the latest development of technology. Especially a high-speed network is essential for mass storage system, such as a robot tape library and a disk array. Fig.13.3-1 shows a preliminary scheme of the computing system for the BESIII. The main considerations are the following:

Fig.13.3-1 The scheme of the BESIII computing system

CPU type and architecture: A high quality computing system based on PC/Cluster or PC/Grid technology will be taken. The CPU type can be any or all of  Intel、AMD or IA64.

Data storage： The BESIII Storage System will adopt the visual technology of the Disk Array and Tape library with HSM(Hierarchical Storage Management). A SAN(Storage Area Network) construction can satisfy the requirement of large amount data storage,  high access speed and expandability. In such a system, all the sub-storage system such as the Disk Array and the Tape Library,  are connected through a switcher and are independent from the server.

Network and I/O control:  In order to increase the data access speed and to reduce the interference, a second network based on SAN will be adopted to separate data transfer and normal network traffic. In addition, all nodes will have both 100TX/1000TX network cards, in which 100TX provides traditional TCP/IP services while 1000 TX provides NFS services.

System software：The BESⅢ offline computing system will mainly adopt free software to reduce the cost and to have an easier exchange with other experiments in the world . The main components are the following:

  - RedHat/Linux as the system operation software;

  - Castor or MySQL or PostgreSQL for database system;

  - PBS for the batch system;

  - YP for user management and auto-mount for document management.

# Offline Data Analysis System

The main task of the BESIII software system is to convert raw data of the detector responses into physics results. It consists of a main framework, the data reconstruction and calibration package, the Monte Carlo simulation of physics processes and detector responses, the database management and interfaces, various utility packages, and user’s physics analysis packages. It should also manage documents, software codes and libraries.  The system should take the advantages of the Object Oriented technology by using the C++ computer language, while still keeps the possibility to incorporate some of the existing BES Fortran software packages. The system would also be taken into account practical needs, such as usability, stability and flexibility, and to accommodate conflicting needs between experts and novices.

#### Framework of the BESIII Offline Software

In order to take advantages of the modern technology and utilize common tools of other HEP experiments in the world, the main framework of the BESIII offline software will be based on the Object-Oriented methodology and C++ language, and take into account the following points:

- It should support some of the existing BES packages written in Fortran language;

- It should use as much as possible existing HEP libraries.

- It should provide a uniform data management, code and library management, and database access.

The BESF as the BES III software framework, based on the Belle analysis Framework (BASF)[7], has been developed in the summer of 2003. In order to make the framework more flexible and robust, be able to handle offline data and MC events as well as online Event Filter (EF) system, some software components and infrastructures are taken from other experiments such as the Service in Gaudi [8] and data management infrastructure from the Babar software.

The major packages of the BESF framework are shown in Fig.13.4-1. In which the BesKernel is the core part of the framework that implements the control on data processing. It depends on other four packages: the EventIO package managing event input and output, the UserInterface package providing friendly interface for running jobs, the Panther[9] package that is an integral data management system and the BesEvent package implementing the interface to the ProxyDict originally developed in the Babar experiment. The ROOT and CERNLIB are the only two external libraries needed by Histogram package.

Fig.13.4-1 Software packages and dependencies in the BESF

#### Calibration and Reconstruction

Most of the sub-detectors of the BESIII are different from that of the BESII, therefore the calibration and reconstruction code will mostly be re-written. Whether it is written in C++ or in Fortran, the software system should have a well separated calibration and reconstruction sequence, with a modular structure so that any changes of an intermediate step will not result in modifications of related code in a later stage. If C++ is adopted, some of the objectivity should be compromised, for example, data and operation should be well separated.

The main tasks of the reconstruction include track finding and fitting, cluster finding, shower fitting and reconstruction, scintillation timing reconstruction, muon track finding in muon chambers and particle identification.

Data calibration will be done at various stages, both online and offline. Calibration constants will be stored in a database. It is also foreseen to have several calibration iterations so that data will be processed several times over a year.

#### Monte Carlo Simulation

Most of the event generators of the BESII can be re-used although some modifications may be needed. The simulation of the detector response will be a new package based on the GEANT4 program while a Fortran code based on the GEANT3 program in Fortran will be kept as a backup and for comparison. Detailed simulation of the drift chamber resolution using output of Garfield will be investigated. Light transport in scintillators of the Time-of-Flight system and the time resolution can be well simulated using GEANT4.

The BESIII simulation packages based on Geant4[1], BOOST, consists of three main parts, the event generator, the particle tracking and the detector response. The XML[5] language will be used for the detector description. The “raw” data format is used for the final output of BOOST. Right now, the hit information from most sub-detectors can be used to test or tune the offline reconstruction program.

#### Common Tools and Libraries

Commonly used CERN libraries, both in C++ and in Fortran, will be used extensively. Physics analysis will be based on HBOOK, PAW, PAW++, ROOT, MN_FIT, Fitver and so on.

Some of the BESII libraries in Fortran, such as Telesis for kinematical fitting, events vertex fitting and event-kink fitting can be re-used.

The database of the BESIII contains the detector geometry, calibration constants, detector running status and conditions, environment parameters, etc. Some of the tables in the offline database are kept identical with that of the online database while some other tables will only appear in one of the two databases. The database will be managed by a free software based on SQL language, such as PostgreSQL, MySQL or MiniSQL.

Commercial software packages can also be used, as long as it is well received by the HEP community. For example, the software code will be managed most likely by CVS, RCVS, AFS or DFS and so on.

#### References

[1] http://cern.ch/geant4

[2] http://www.slac.stanford.edu/bfroot/computing/offline/simualtion/web

[3] http://cmsdoc.cern.ch/oscar

http://atlas.web.cern.ch/atlas/groups/software/oo/simulation/geant4

[4] http://www.thep.lu.se/~torbjorn/pythia.html

[5] http://gdml.web.cern.ch/gdml

[6] http://root.cern.ch

[7] Itoh, R., BASF - BELLE AnalysiS Framework, Talk given at Computing in High-energy Physics (CHEP 97), Berlin, Germany, 7-11 Apr 1997

[8] Barrand, G. and others, GAUDI - A software architecture and framework for building HEP data processing applications, Comput. Phys. Commun., 140(2001) 45-55

[9] Shojiro Nagayama, Panther User’s guide version 3.0

[10] http://lhcb.web.cern.ch/lhcb/

# Text boxes

# Paw